NATIONAL COMPLIANCE TRAINING

Fire Risk Assessment Template

The five step method for the responsible person

Use this template to record a fire risk assessment for your premises using the recognised five step method. Complete it room by room and keep it with your fire safety records. For complex or higher risk premises, use a competent professional or a third party certificated fire risk assessor.

Premises details

| Field | Detail |
| --- | --- |
| Premises name and address |  |
| Responsible person |  |
| Person carrying out the assessment |  |
| Date of assessment |  |
| Date of next review |  |
| Maximum number of people present |  |

Step 1: Identify the fire hazards

For each area, record the sources of ignition, the sources of fuel, and any source of oxygen that could make a fire worse. The first row is a worked example.

| Area | Ignition sources | Fuel sources | Notes |
| --- | --- | --- | --- |
| Store room | Portable heater, faulty wiring | Cardboard stock, solvents | Solvents stored too close to heater |

| Area | Ignition sources | Fuel sources | Notes |
| --- | --- | --- | --- |

Step 2: Identify the people at risk

Record everyone who could be present, giving particular attention to anyone at greater risk. The first row is a worked example.

| Group of people | Why they are at risk | Measures for them |
| --- | --- | --- |
| Warehouse staff working alone at night | Far from exits, no one to raise the alarm for them | Automatic detection, clear signed routes, check in system |

| Group of people | Why they are at risk | Measures for them |
| --- | --- | --- |

Step 3: Evaluate, remove, reduce and protect

For each hazard, judge the likelihood and the severity, then act. Use these prompts.

Can the hazard be removed altogether, for example by clearing waste?

If not, how will it be reduced, for example by safe storage or controlling ignition?

What detection and warning is in place for the risk that remains?

Are escape routes, emergency lighting and firefighting equipment adequate?

Is the level of remaining risk acceptable, or is further action needed?

Steps 4 and 5: Significant findings, action and review

Record the significant findings below. Where five or more people are employed this record is a legal requirement. Transfer each item that needs work to the Fire Safety Action Plan.

| Significant finding | Existing control | Further action needed |
| --- | --- | --- |

Review this assessment at least once a year, and again after any change to the building, its use or the people present, or after a fire, near miss or false alarm. National Compliance Training. For guidance call 020 3026 4629.