NATIONAL COMPLIANCE TRAINING

Weekly and Monthly Fire Safety Checklist

Routine checks that keep your fire precautions working

Use this checklist to record the routine fire safety checks for your premises. Complete each check at the time and enter the date and your initials. Report any fault at once and add it to the Fire Safety Action Plan.

Weekly checks

| Weekly check | Date | Initials | Notes or faults |
| --- | --- | --- | --- |
| Fire alarm tested from a call point, using a different point each week |  |  |  |
| Escape routes clear and final exit doors open easily |  |  |  |
| Fire doors close fully onto the frame and are not wedged |  |  |  |
| Extinguishers in place, correct type, seals and pins intact |  |  |  |
| Call points and signs visible and not obstructed |  |  |  |

Monthly checks

| Monthly check | Date | Initials | Notes or faults |
| --- | --- | --- | --- |
| Emergency lighting function tested and all units working |  |  |  |
| Extinguisher gauges reading in the green where fitted |  |  |  |
| Fire door seals, hinges and closers in good order |  |  |  |
| Fire safety signage present, correct and visible |  |  |  |
| Assembly point clear and accessible |  |  |  |

These routine checks do not replace the servicing carried out by competent contractors, such as annual emergency lighting duration tests and extinguisher servicing. Keep those records too. National Compliance Training.