NATIONAL COMPLIANCE TRAINING

Fire Evacuation Plan Template

What everyone does when the alarm sounds

Use this template to set out your emergency plan so that everyone knows what to do. Display a short version as a fire action notice and brief all staff on it.

On discovering a fire

Raise the alarm at once using the nearest call point.

Only tackle the fire with an extinguisher if it is small, you are trained, and you have a clear escape behind you.

Leave by the nearest safe route and do not stop to collect belongings.

Do not use lifts unless they are designed and marked for evacuation.

On hearing the alarm

Stop work and leave immediately by the nearest safe route.

Help anyone who needs assistance, following their personal emergency evacuation plan.

Go directly to the assembly point and stay there.

Do not re-enter the building until told it is safe by the fire and rescue service or the person in charge.

Plan details

| Field | Detail |
| --- | --- |
| Assembly point location |  |
| Evacuation strategy (simultaneous, phased or stay put) |  |
| Type of alarm and how it sounds |  |
| Person in charge in an emergency |  |
| How the fire service is called |  |
| How people needing help are assisted |  |

Fire marshals

| Name | Area of responsibility | Contact |
| --- | --- | --- |

Practise this plan with a fire drill at least once a year, and more often in higher risk premises. Record each drill and act on what it reveals. National Compliance Training.